## Sheet1
[BLOCK TYPE | TAG | DESCRIPTION
AI | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-XXA | STATION POWER ALARM STATUS
AI | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JCLL | LOLO ALARM SETPT
AI | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JCL | LO ALARM SETPT
AI | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JCHH | HIHI ALARM SETPT
AI | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JCH | HI ALARM SETPT
AI | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JI | STATION POWER CURRENT VALUE
DI | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JAHACK | STATION POWER HI ALM ACK
DI | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-XAHCACK | STATION POWER SIGNAL OUT RANGE HI ALM AC
DI | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JAHHACK | STATION POWER HIHI ALM ACK
DI | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JALACK | STATION POWER LO ALM ACK
DI | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-XALCACK | STATION POWER SIGNAL OUT RANGE LO ALM AC
DI | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JALLACK | STATION POWER LOLO ALM ACK
DI | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-XJLC | STATION POWER LIMIT CHECK WARNING
AR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JTLL | LOLO ALARM TEMP. SETPT
AR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JTL | LO ALARM TEMP. SETPT
AR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JTHH | HIHI ALARM TEMP. SETPT
AR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JTH | HI ALARM TEMP. SETPT
AR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-EUMX | STATION POWER MAX ENGINEERING UNITS
AR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-EUMN | STATION POWER MIN ENGINEERING UNITS
AR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-DTLL | STATION POWER LOLO ALARM DELAY
AR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-DTL | STATION POWER LO ALARM DELAY
AR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-DTHH | STATION POWER HIHI ALARM DELAY
AR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-DTH | STATION POWER HI ALARM DELAY
AR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-DBLL | STATION POWER LOLO ALARM DEADBAND
AR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-DBL | STATION POWER LO ALARM DEADBAND
AR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-DBHH | STATION POWER HIHI ALARM DEADBAND
AR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-DBH | STATION POWER HI ALARM DEADBAND
DR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-RFLM | STATION POWER UPDATE
DR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-YLL | STATION POWER LOLO ALARM ENABLE
DR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-YL | STATION POWER LO ALARM ENABLE
DR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-YHH | STATION POWER HIHI ALARM ENABLE
DR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-YH | STATION POWER HI ALARM ENABLE
DR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-XAYU | STATION POWER ALARM ACKNOWLEDGE
DR | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-RFRS | STATION POWER LIMIT ALARM ACKNOWLEDGE
DA | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-XALC | STATION POWER SIGNAL OUT OF RANGE LO
DA | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JAL | STATION POWER LO ALARM
DA | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JAHH | STATION POWER HIHI ALARM
DA | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-XAHC | STATION POWER SIGNAL OUT OF RANGE HI
DA | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JAH | STATION POWER HI ALARM
DA | COL-PLACEHOLDERLOCATION-PLACEHOLDERDEVICETYPE-PLACEHOLDERDEVICENAME-JALL | STATION POWER LOLO ALARM